## Sheet1
GENERAL SERVICES AND UTILITIES CHECK LIST
Job No.: |  |  |  | Sheet of | PREPARED BY:
Job Name:
Document No. |  |  |  |  | DATE:
Project No.
Client
Location
Plant
SERVICE |  | QUANTITY |  | OPERATING PRESSURE & | REMARKS
| SUSTAINED | PEAK | UNIT | TEMPERATURE
ELECTRICAL 13.8 KV |  |  | *KVA
ELECTRICAL 2300V |  |  | *KVA
ELECTRICAL 440V |  |  | *KVA
MISC. LIGHTING, ST. .ETC.,] (110 V) |  |  | *KVA
WELL WATER (CITY) |  |  | GPM
SEA WATER |  |  | GPM
RIVER WATER - PROCESS |  |  | GPM
RIVER WATER - FIRE PROT. |  |  | GPM
FUEL GAS |  |  | SCFM
ODORIZED GAS |  |  | SCFM
COMPRESSED AIR |  |  | SCFM
STEAM |  |  | LB/HR
(400 OR 475) PSIG |  |  | LB/HR
235 PSIG |  |  | LB/HR
150 PSIG |  |  | LB/HR
30 PSIG |  |  | LB/HR
CONDENSATE RETURN |  |  | LB/HR
CONDENSATE USAGE |  |  | LB/HR
PROCESS TRANSFER & RAW MATERIALS
CAUSTIC (- %) |  |  | LB/HR
BRINE (-%) |  |  | LB/HR
LPG |  |  | LB/HR
SITE DEV. (AREA FILL)
RAILROADS
BLOCK ACCESS ROADS
SANITARY SEWERS |  |  | GPM
GPM
WASTE WATER
*ASSUME 1 HORSE POWER = 1KVA
Figure 1-38. General services and utilities checklist.
A.K.C.
TECHNOLOGY